## 2006
Month | Sample Location | Temp | pH | Cond | Colour | Turbidity | Total Alkalinity | Bi-carbonate | Carbonate Alkalinity | Total Hardness | Calcium Hardness | Magnesium Hardness | TDS | Salinity | Nitrate | Phosphate (O) | Cloride | Fluoride | Iron (Total) | Iron (soluble) | Manganese (T) | Manganese (sol) | Aluminium | Calcium | Magnesium | Copper | Total Available Chlorine | Free Available Chlorine | Total Coliform | Faecal Coliform
| Unit | oC | 0 | uS/cm | TCU | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ppt | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
13/03/06 | Waimanu River | 28.9 | 7 | 72.9 | 2.5 | 28.9 | 34.2 | 34.2 | 0 | 28.6 | 24.4 | 4.2 | 49 | 0 | <0.01 | <0.01 | 5.9 | <0.05 | 0.04 | 0.02 | 0.02 | 0.02 | <0.02 | 9.8 | 1 | <0.05 | N/A | N/A
30/05/06 | Waimanu River | 26.4 | 6.96 | 99.4 | 0 | 0 | 28 | 28 | 0 | 32.6 | 26.5 | 6.1 | 66 | 0 | <0.01 | <0.01 |  | <0.05 | 0.02 | 0.01 | <0.10 | <0.10 | <0.02 | 10.6 | 1.5 | <0.05 | N/A | N/A
2006-06-06 | Waimanu River | 25.6 | 7.11 | 94.4 | 0 | 1.3 | 33.3 | 33.3 | 0 | 30.9 | 24.7 | 6.2 |  | 0 |  |  | 7.1 | <0.05 | 0.27 | 0.24 | 0.04 | 0.04 | <0.02 | 9.9 | 1.5 | <0.05 | N/A | N/A
18/07/06 | Waimanu River | 24 | 7.2 | 40.4 | 0 | 1.6 | 34 | 34 | 0 |  |  |  |  | 0 | 0.58 |  | 5.7 | <0.05 | 0.06 | 0.05 | 0.05 | 0.04 | <0.02 | 7.4 | 2.8 | <0.05 | N/A | N/A
24/07/06 | Waimanu River | 25 | 7.2 | 40.4 | 2.5 | 4.08 | 34.2 | 34.2 | 0 | 29.9 | 18.5 | 11.4 | 270 | 0 |  |  | 5.7 | <0.05 | 0.02 | 0.01 | 0.01 | 0.01 | <0.02 | 7.4 | 2.8 | <0.05 | N/A | N/A
JULY | Waimanu River | 24.5 | 7.2 | 40.4 | 1.25 | 2.84 | 34.1 | 34.1 | 0 | 14.95 | 9.25 | 5.7 | 135 | 0 | 0.29 | 0 | 5.7 | <0.05 | 0.04 | 0.03 | 0.03 | 0.025 | <0.02 | 7.4 | 2.8 | <0.05 | N/A | N/A
2006-07-08 | Waimanu River | 20 | 6.9 | 43.7 | 0 | 1.42 | 34 | 34 | 0 | 27.8 | 12.4 | 15.4 | 31 | 0 | <0.01 | <0.01 | 6.8 | <0.05 | <0.30 | <0.30 | 0.01 | 0.01 | <0.02 | 4.9 | 3.7 | <0.05 | N/A | N/A
2006-04-09 | Waimanu River | 24.5 | 7 | 78.9 | 0 | 0.64 | 35 | 35 | 0 | 24.5 | 12.2 | 12.3 | 53 | 0 | <0.01 | <0.01 | 5.2 | <0.05 | <0.30 | <0.30 | <0.10 | <0.10 | <0.02 | 4.9 | 3 | <0.05 | N/A | N/A
2006-11-09 | Waimanu River | 27 | 7 | 91.8 | 2.5 | 1.92 | [6 empty] | 60 | 0 | <0.05 | <0.05 |  | <0.05 | 0.08 | 0.06 | 0.06 | 0.04 | <0.02 |  |  |  | N/A | N/A
26/09/06 | Waimanu River | 22 | 6.8 | 64 | 2.5 | 3.18 | 21 | 21 | 0 | 23.7 | 14.4 | 9.3 | 43 | 0 | 0.05 | <0.01 | 7.7 | <0.05 | 0.08 | 0.06 | 0.04 | 0.02 | <0.02 | 5.8 | 2.3 | <0.05 | N/A | N/A
SEPT | Waimanu River | 24.5 | 6.9333 | 78.2333 | 1.6667 | 1.9133 | 18.6667 | 18.6667 | 0 | 16.0667 | 8.8667 | 7.2 | 52 | 0 | 0.05 | <0.01 | 4.3 | <0.05 | <0.30 | <0.30 | 0.01 | 0.01 | <0.02 | 3.5667 | 1.7667 | <0.05 | N/A | N/A
2006-02-10 | Waimanu River | 23 | 6.8 | 70.5 | 7.5 | 8.76 | 23.7 | 23.7 | 0 | 22.8 | 18.5 | 14.4 | [14 empty] | N/A | N/A
16/10/06 | Waimanu River | 24.5 | 7.2 | 68.2 | 10 | 12.9 | 26.6 | 26.6 | 0 | 23.7 | 15.6 | 8.1 | 46 | 0 | 0.05 | 0.03 | 4.5 | <0.05 | 0.06 | 0.04 | 0.02 | 0.02 | <0.02 | 2 | 4.9 | <0.05 | N/A | N/A
23/10/06 | Waimanu River | 25.9 | 6.9 | 81.9 | 2.5 | 3 | 25.2 | 25.2 | 0 | 41.2 | 18.5 | 22.7 | 53 | 0 | 0.09 | 0.12 | 4.8 | <0.05 | 0.06 | 0.04 | 0.02 | 0.02 | <0.02 | 7.4 | 5.5 | <0.05 | N/A | N/A
OCT | Waimanu River | 24.4667 | 6.9667 | 73.5333 | 6.6667 | 8.22 | 25.1667 | 25.1667 | 0 | 29.2333 | 17.5333 | 15.0667 | 33 | 0 | 0.046667 | 0.05 | 3.1 | <0.05 | 0.04 | 0.026667 | 0.013333 | 0.013333 | <0.02 | 3.1333 | 3.4667 | <0.05 | N/A | N/A
2006-06-11 | Waimanu River | 27 | 6.9 | 80.6 | 2.5 | 2.59 | 25.2 | 25.2 | 0 | 36.7 | 18.4 | 18.4 | 54 | 0 | 0.04 | 0.02 | 6.1 | <0.05 | 0.02 | 0.01 | 0.01 | 0.01 | <0.02 | 7.4 | 4.5 | <0.05 | N/A | N/A
13/11/06 | Waimanu River | 26.3 | 6.8 | 70.9 | 0 | 1.1 | 32 | 32 | 0 | 41.8 | 26.5 | 15.3 | 60 | 0 | 0.03 | 0.04 | 5.9 | <0.05 | 0.04 | 0.02 | 0.01 | 0.01 | <0.02 | 8.2 | 1.5 | <0.05 | N/A | N/A
20/11/06 | Waimanu River | 28 | 7 | 89.9 | 2.5 | 1.77 | 31.4 | 31.4 | 0 | 26.5 | 20.4 | 6.1 | 60 | 0 | 0.05 | 0.04 | 6.2 | <0.05 | 0.02 | 0.01 | 0.01 | 0.01 | <0.02 | 8.2 | 1.5 | <0.05 | N/A | N/A
0
NOV | Waimanu River | 27.1 | 6.9 | 80.4667 | 1.6667 | 1.82 | 29.5333 | 29.5333 | 0 | 35 | 21.7667 | 13.2667 | 58 | 0 | 0.04 | 0.033333 | 6.0667 | <0.05 | 0.026667 | 0.013333 | 0.01 | 0.01 | <0.02 | 7.9333 | 2.5 | <0.05 | N/A | N/A
2006-12-07 | 0900hrs | 25.9 | 7.12 | 91.9 | 5 | 3.7 | 33.3 | 33.3 | 0 | 29.9 | 24.7 | 5.2 | 62 | 0 | 0.02 | <0.01 | 8.2 | <0.05 | 0.08 | 0.02 | 0.02 | 0.02 | <0.02 | 9.9 | 1.3 | <0.05 | N/A | N/A
DEC | 1000hrs | 25.9 | 7.09 | 90.4 | 5 | 3.4 | 31.4 | 31.4 | 0 | 26.8 | 20.6 | 6.2 | 60 | 0 | 0.05 | 0.02 | 6.1 | <0.05 | 0.04 | 0.02 | 0.02 | 0.02 | <0.02 | 9.9 | 1.5 | <0.05 | N/A | N/A
| 1100hrs | 26.8 | 7.1 | 89 | 2.5 | 1.96 | 30.4 | 30.4 | 0 | 24.7 | 20.6 | 4.1 | 59 | 0 | 0.92 | 0.84 | 5.2 | <0.05 | 0.06 | 0.04 | 0.02 | 0.02 | <0.02 | 8.2 | 0.99 | <0.05 | N/A | N/A
| 1200hrs | 27.7 | 7.82 | 88.1 | 2.5 | 2.67 | 30.4 | 30.4 | 0 | 29.9 | 20.6 | 9.3 | 58 | 0 | 0.05 | 0.03 |  | <0.05 | 0.08 | 0.06 | 0.01 | 0.01 | <0.02 | 8.2 | 2.3 | <0.05 | N/A | N/A
| 1300hrs | 26.9 | 7.86 | 85.8 | 2.5 | 2.77 | 32.3 | 32.3 | 0 | 28.8 | 16.5 | 12.3 | 57 | 0 | 0.08 | 0.04 |  | <0.05 | 0.06 | 0.04 | 0.01 | 0.01 | <0.02 | 6.6 | 2.9 | <0.05 | N/A | N/A
| 1400hrs | 26.6 | 6.74 | 86.8 | 2.5 | 2.49 | 30.4 | 30.4 | 0 | 31.9 | 12.4 | 19.5 | 58 | 0 | 0.06 | 0.04 |  | <0.05 | 0.02 | 0.01 | 0.01 | 0.01 | <0.02 | 4.9 | 4.7 | <0.05 | N/A | N/A
| 1500hrs | 27.2 | 8.1 | 86.6 | 2.5 | 2.57 | 28.5 | 28.5 | 0 | 30.9 | 16.5 | 14.4 | 58 | 0 | 0.02 | 0.5 | 5.2 | <0.05 | 0.04 | 0.02 | 0.02 | 0.01 | <0.02 | 6.6 | 3.5 | <0.05 | N/A | N/A
| 1600hrs | 26.9 | 8.06 | 88.6 | 10 | 6.14 | 30.4 | 30.4 | 0 | 32.9 | 20.6 | 12.3 | 59 | 0 | 0.1 | 0.09 | 5.6 | <0.05 | 0.02 | 0.02 | 0.02 | 0.01 | <0.02 | 8.2 | 2.9 | ) |  | N/A
|  |  | 7.1356 | 76.5827 | [5 empty] | 28.87 |  |  | 66.4167 |  | 0.13772 |  |  |  | 0.055507 |  | 0.020556
0.13772

## WAIMANU RIVER YEARLY AVERAGE
Year | Sample Location | pH | Cond | Total Hardness | TDS | Nitrate | Iron (Total) | Manganese (T) | Copper
| Unit | 0 | uS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
2006 | Waimanu River | 7.1 | 76.58 | 28.87 | 66 | 0.14 | 0.05 | 0.02 | <0.05
2007 | Waimanu River | 7.1 | 76 | 28.84 | 51 | 0.06 | 0.09 | 0.03 | <0.05
2008 | Waimanu River | 7 | 80.9 | 34.7 | 81.3 | 0.35 | 0.28 | 0.34 | <0.05
2009 | Waimanu River | 6.8 | 82.8 | 30.26 | 53 | 0.09 | 0.03 | 0.02 | <0.05
2010 | Waimanu River | 7.5 | 75.35 | 25.6 | 49 | 0.26 | <0.05 | <0.05 | <0.05
2011 | Waimanu River | 7.3 | 79.26 | 32.5 | 49 | 0.26 | 0.12 | 0.06 | 0.01
2012 | Waimanu River | 7.4 | 72.1 | 29 | 47 | 0.05 | 0.14 | 0.08 | 0.01
| Year | pH | Cond | Total Hardness | TDS | Nitrate | Iron (Total) | Manganese (T) | Copper
|  | 0 | uS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
| Year | pH | Conductivity (µs/cm) | Total Hardness (mg/L) | Total Dissolved Solid (mg/L) | Nitrate | Iron | Manganese | Copper
| 2006 | 7.1 | 76.58 | 28.87 | 66 | 0.14 | 0.05 | 0.02 | <0.05
| 2007 | 7.1 | 76 | 28.84 | 51 | 0.06 | 0.09 | 0.03 | <0.05
| 2008 | 7 | 80.9 | 34.7 | 81.3 | 0.35 | 0.28 | 0.34 | <0.05
| 2009 | 6.8 | 82.8 | 30.26 | 53 | 0.09 | 0.03 | 0.02 | <0.05
| 2010 | 7.5 | 75.35 | 25.6 | 49 | 0.26 | <0.05 | <0.05 | <0.05
| 2011 | 7.3 | 79.26 | 32.5 | 49 | 0.26 | 0.12 | 0.06 | 0.01
| 2012 | 7.4 | 72.1 | 29 | 47 | 0.05 | 0.14 | 0.08 | 0.01